## Sheet1
Sr.No | Item Name and Specifications Rate per Unit | Rate per Unit including all taxes | Items Manufacturer/ company name (compulsory) | Remark
51 | PATHOLOGY Dropping bottles plastic 50 of 100ml 50 of 500 ml Should meet NABL guidelines
52 | Hair Dryer Warm and cold . Warm with 2 speeds
53 | Microscope - Objective Lens 20x for Olympus CX 41 microscope
54 | Carry bag for blood collection monitor (suitable for termo penpol company BCM)
55 | Micropipette Micropipette variable volume, single channel, 0010-0100Microlitre • Fully autoclavable • Light weight & ergonomics design for user comfort • No sharp edges to tear gloves • Soft touch tip ejection • Color d volume range for easy identification • Automatic locking of set volume • One handed operation for safe handling of potentially infectious materials • Super blow out forMicroorganisms volume pipetting. • Easy in laboratory recalibration & maintenance. • 5 years of warranty. Calibration certificate from NABL accredited testing laboratory. It should be autoclavable • acceptable in accuracy ± 0.5-0.80ml • acceptable in Imprecision 0.15-0.20 ml
56 | Micropipette Micropipette variable volume, single channel, 0020 0200Microlitre • Fully autoclavable • Light weight & ergonomics design for user comfort • No sharp edges to tear gloves • Soft touch tip ejection • Color d volume range for easy identification•Automatic locking of set volume • One handed operation for safe handling of potentially infectious materials • Super blow out forMicroorganisms volume petting. • Easy in laboratory recalibration & maintenance. • 5 years of warranty • Calibration certificate from NABL accredited testing laboratory • It should be autoclavable • acceptable in accuracy ± 1.0-1.2 ml • acceptable in Imprecision 0.2-0.4 ml
57 | ANA Test kit Immuno fluorescence based 8 tests per strips. Total 110 tests
58 | ANA profile kit Immunoblot method, 22 antigens per strip
59 | kit for Hb electrophoresis With, haemolysing agentt, Buffer, applicators, tank and strips
60 | PHARMACOLOGY Metered Dose Inhalers, Spacers, Rotahalers (Dry powder inhaler), Nasal sprays, Transdermal patches, Either with placebo or with drug Spacer for adult and paediatric patient
61 | Insulin infusion pumps, Adjustables peed of bolus infusion Multiple setting modes: Pulse typebolus administration method. Adjustablespeed, easy to absorb, avoid induration,intelligent, 3 meal modes, bolus guide, intelligent asses added doses.
62 | Insulin pen. Thin needle with dose dial Large print dosing window Push button injection
63 | Infusion Pump Volumetric with setting of flow rate, alarm for problem in infusion,
64 | Autoclave Machine 29 ltr
65 | Refregerator double door, 400 ltr.
66 | Split Air Conditionar 2 tan, Industrial Grad
67 | Policarbonet Ret kej with Water bottle
68 | Animal fidding water bottle with valv 300 ml
69 | Rubber Glowse XL - Size
70 | Plastic Appron (Approx - 25 " - 54 ")
71 | Glucometer & Strips
72 | Streptozotocin
73 | pentylenetetrazol
74 | COMMUNITY MEDICINE Barometer (Mercury-based instruments to be replaced with other alternatives) Aneroid (Dial) Type Model WS-7396 with humidity, temperature with wireless Remote sensor
75 | Models (Models of common diseases/Symptoms/ Prevention & treatment)
76 | skinfold thickness Calipers) Handheld skin callipers durable plastic Dial Graduation: 0.20 mm Measuring Range: 0 mm to 80 mm Measuring Pressure: 10 gms/mm2 (constant over range) Accuracy: 99.00% Repeatability: 0.20 mm
77 | Height measuring stand Height Measuring Scale, floor model without weighing scale. Measuring range : 20 - 210cm with 1mm Graduation. Measuring in inches and centimeters. Height stand disassembles into 4 sections & easy to transport in disassembled condition. Suitable for height measuring at any location. Accurate, portable, durable and light weight with all plastic parts. Suitable for medical practices, hospitals, nursing home, school, home etc. Note: No assembly should be required, it should be ready to use.
78 | Horrock’s Apparatus Alkalinity 25 to 750 mg/l Total Hardness 25 To 1000 Mg/l Chloride 100 Mg/l Turbidity 0.0 To 80 Ntu pH 6.5 - 8.5
79 | Haemoglobinometer Measuring range 0-20 gm/dl Sahli's Haemometer,Prismatic (Square Tube), Planoparallel (Square Tube / Round Tube) Type of Tube Square Material Glass
80 | Water sampling bottle from any depth 2 litres and 250 ml capacity for water sampling collection (Winchester Quartz bottle)
81 | Slide set for entomology (1) Mosquito: Anopheles, Culex, Aedes (Eggs, larva, pupa, adult - all) (2) Housefly- egg, Larva, Pupa, Adult - all (3) Sandfly- egg, Larva, Pupa, Adult - all (4) Rat flea - Adult (5) Head louse- Adult, Egg, nymph - all (6) Tick- Soft tick and Hard tick (7) Sand fly- Adult (8) Cyclops
82 | Clinical Thermometer Digitally working, similar to those available in the market, for measuring body temperature of human beings 3-digit; accuracy ± 0.2 degree celcius; auto-off in 3 minutes; 200 hours of continuous operation
83 | SKIN & VD Retinoic Acid (Retinol peel) Retinol 4%+ Each sachet 10x3 ml
84 | Lactic acid peel Lactic acid peel 60% 30ml with 100 ml neutralizer face peel
85 | Salicylic acid powder Very fine white crystalline powder Assay 99.5% pure
86 | Trichloroacetic acid peel Trichloroacetic acid 50% Trichloroacetic acid 80%
87 | Podophyllin resin Podophyllin resin 25%
88 | Mandelic acid peel 30% mandelic acid
89 | Acetone solution Form- liquid Grade standard – chemical grade
90 | Aluminium chloride Alcl3 * 6 H2O Hexahydrate crystals, reagents
91 | Gram stain kit 1.Crystal violet, 2.Decolorizer, 3.Iodine, 4.safranin
92 | Acid fast stain kit 1.Carbol fuchsin, 2. Acid alcohol decolorizer, 3. Methylene blue counter stain, 4. Brilliant green
93 | Nokor needle BD medical Nokor admix non-coring needle,18 GX1-1/2 lenght
94 | Glass slides I box= 50 slides
95 | Iris forceps ADDLER Hess iris forcep 4’’ AA3020 1X2 teeth(7.9cm)
96 | Micro Dermabrasion Microdermabrasion +electroporation system For 1.microdermabrasion- Diamond probe tip & crystal probe tip 2. for electroporation- transederm technology (ultrasound+ iontophoresis) with optional - oxygen spray- 8LPM approx ,air pressure- 2.5 bar approximately
97 | Gelonate Petroleum jelly containing sterile gauze piece
98 | Surgical glue Octyl cyanoaccrylat Glue ( 0.5/ml)
99 | Patch test kit 1.Cosmetic and fragnance series. 2. Foot wear series
100 | Digital Trichoscope(Digital Dermoscope ) - Lighting 8 Ultra-Bright LEDs - Sensor Resolution 2.0 Megapixels (1600 x 1200) - Magnification Native Optical: 15x – 40x or more, Digital: 15x – 200x or more - Video Format: YUY2, Frame rate: 30 FPS - Video: facility for video should be available - Video, Image Files BMP, JPG, AVI - Fully adjustable brightness - Software Scalable Window, Zoom, Freeze, Resolution, Rotate, Flip, Region of Interest (ROI), - Automatic/Manual white balance - Operating Systems Windows 10, 8, 7, XP and Mac OS 10.4 or higher - Warranty 1 Year Limited Hardware Warranty