## Sheet1
Sr.No | Item Name and Specifications Rate per Unit | Rate per Unit including all taxes | Items Manufacturer/ company name (compulsory) | Remark
651 | PHYSIOLOGY Glass beaker (500 ml)
652 | Glass beaker (250 ml)
653 | Glass stirrer for Haemoglobinometer
654 | ECG Jelly (250 ml)
655 | Conductive Neurodiagnostic Electrode Paste(4 oz/114gm) for sleep lab Ingredients: Polyoxyethylene 20 Cetyl Ether,Water,Glycerin, Calcium carbonate,1,2 Propanediol,Potassium chloride, Gelwhite,Sodium chloride,Polyoxyethylene 20 Sorbitol, Methylparaben,propylparaben
656 | Skin Prep Gel (4 oz/114gm) for Sleep lab Ingredients: Water,Aluminium Oxide,1,2 Propanediol, Sodium Polyacrylate,Methylparaben,Propylparaben, FD&C Blue 1, FD&C Red 40,FD&C Yellow 5
657 | Xylene
658 | Normal Saline
659 | 1 % saline
660 | Hypotonic saline(1.5 %)
661 | Hypotonic saline(0.5 %)
662 | G plast
663 | ECG Roll ( Coated with wax )
664 | Copperr sulphate(Specific gravity 1.100)
665 | Lenset for priking pen
666 | Filter paper
667 | Urine Enalyser strip
668 | Adhesive tape
669 | Pletlet counting fluid(1% Ammonium oxalute)
670 | Torch
671 | Ni-MH Rechargeable AA Battery
672 | IM, SC inj Arm & Gluteal GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - Adult Buttock, precise anatomical structure Both sides are suitable for injection practice, realistic texture Electronic monitoring, indicating injection position, depth by LED lights and sound alert Gluteus maximus injection allow injecting "potion", convenient drain outlet Gluteus medius, gluteus minimus Rplaceable Skin and injection pad. ALL the Items should be from one company
673 | Advance Cardiac life support training mannequins ACLS GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) It should have carotid pulse check & Chest rigidity should be adjustable to three levels so that different chest resistances can be simulated. (2) The mannequins should have mechanical monitoring instrument that gives instant feedback on ventilation volume, stomach inflation, chest compression depth measurement and wrong hand positions should be visible from both foot and head end. (3)Defibrillation electrodes should be present so that user can be trained with all leading brands of defibrillators ( defibrillation as well as pacing) (4)can be used as Intubation Trainer also, for teaching intubation techniques with Laryngoscopes, Endo-Tracheal Tube, and Laryngeal Mask Airway & Combitube. (5)It should have IV arm helps to trained students insertion of cannulas, injection of medication and mechanical pulse measurement & IO leg for intra osseous training (6)Detailed test report in which all BLS & ACLS performances on mannequins can be registered and facility of debriefing should be available. (7)Breathing sound & other minimum basics sounds like asthma , COPD ,Caughing , Fast breathing , Inspiratory stridor & pulmonary edema can be simulated and also should have option of loading users own individual sound files onto the manikin and to create user desired training algorithms. (8)Both CPR & ECG Curves should be displayed on screen, giving optimal Information at all times. With option to add user desirables ECG rhythms too. (9)Representation of a realistic patient monitor with the following display options: 12 lead ECG, heart rate, blood pressure, oxygen saturation, capnography, values of which can be possible to amend per scenario. (10)Easy set-up of training module with any type of mobile, PAD laptop (iOS or Android) , independent of any platform and license. Should create its own wi - fi network and LAN connectivity (11)Should come with Hard carry case with wheels for easy transportation and training (12)Should be ISO 13485 certified (B) Technical Set Up (1) Should have Control station and View/visualization station (2) Control Station:- (3) Can be wirelessly controlled, (4) Possibility to create different scenarios like BLS with ventillation or CPR , ALS with defibrillation etc with possibility for change in reference values for CPR and Ventillation in algorithms (5) Possible to add Instructors/Trainers and Trainees (6) Personal results for Trainees (7) Online adjustment of virtual vital parameters like SPO2, ETCO2 and BP View Station (1) Real time performance shall be wirelessly visible on screen with compatibility to all OS platforms i.e IOS ,Windows and Android platform. (2) Graphical and Line formats/modes of real time performance feedback & Choice to switch over to different view modes like Bubble view and realistic patient monitor mode with 12 lead ecg display on screen during running scenarios. (3) Change in adjustment of vital parameters like SPO2, ETCO2 and BP should be visible in real time (C) Should be supplied with below accessories and items :- (1) Replace able IV arm skins – 5-nos (2) Replace able vein set – 5 nos (3) Laptop 14-15 inch with latest configuration – 2nos (4) TFT/LCD/LED smart Android screen 50-55 inches – 1 nos (5) Movable Trolley with drawers – 1 nos (6) Laser Printer- 1 nos (7) UPS for power back up – 1 nos (D) Each Manikin Should be supplied along with Defibrillator, Ambu Bag & supraglottic Airway devices with following features:- . (1) Double wall Adult Ambu Bag with Built in pressure limitation- 2nos (2) Ambu Bag should be supplied with face mask (3) O2 Tidal volume 1300 ml, Reusable Reservoir bag with reservoir volume 1500 ml; (4) 100% latex free & double layered with Built-in- pressure limitation, (5) Single shutter valve & integrated hand strap, should be autoclavable upto 30 times with supporting test reports/documents. (6) USFDA & ISO certified (7) Reusable Preformed supraglotic airway device with sizes:- 2 & 3 ( 2 nos each):- (8) Should have silicon cuff & Reinforced tip, both tube and cuff should be made of silicon (9) Pilot balloon with tactile indication, (10) Autoclavable 40 times (11) US FDA & ISO Certified. (12) Defibrillator with 3 lead ECG and pacing (13) Should be a Biphasic defibrillator having capability to provide energy of 200 Joules in manual mode & in AED mode. (14) It should be capable of doing synchronized & Asynchronized cardioversion. (15) Should have bright 6 inch or more LCD / TFT display. (16) Should have paddle contact indicator with different color LEDs to show level of impedance between patient chest and external electrode. (17) The unit should have transcutaneous external pacing with 40 millisecond pulse width. (18) Should have charging time of less than 5 seconds for maximum energy. Charging indicator should be there. (19) Should have facility for self-test and check before usage (defibrillator testing facility). (20) Should have key for changing to child AED mode for pediatric patient. (21) The steps for AED shock should be easy changeable by user for adult and child patient. (22) System Configuration Accessories, spares and consumables : (23) Defibrillator, monitor with battery -01 (24) Combined External Paddles Adult/ Pediatric (pair) -01 no. (25) ECG Rolls -10 nos. (26) Pacing cable – 01 no. (27) Disposable pads-02 nos. (28) ALL the Items should be from one company
674 | IV inj arm GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - This Adult Vein puncture and Injection Training Arm has all the 8 vena of the vascular system of the arm, it helps to provide a good training of injection, infusion and phlebotomization. Should provide a real life feel when the students practice on this mode ALL the Items should be from one company
675 | Air way Training Manikin with Anatomical cut section GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) Intubation Trainer for teaching intubation techniques with laryngoscopes, airways, endotracheal tubes, SGAs and other Auxiliary aids for airway management should have following features :-Accurate simulation of mouth, nostrils, teeth, tongue, pharynx, larynx, epiglottis, vocal cords, trachea, oesophagus and lungs. (2) Realistic lifting and tilting of head. (3) Realistic movement of the head, cervical spine and jaw to simulate relevant anatomical changes during intubation. (4) The left side of the head should be open to permit supervision of the student’s performance. (5) Should have sensitivity adjustable Acoustic audio alarm triggered by excess pressure on the upper teeth. Also should have pneumatic buzzer when ventilating with a tracheal tube placed incorrectly in the esophagus. (6) Should be ISO 13485 Certified (7) Should be supplied along with SGA devices having following features:- - SGA Device :- Reusable Preformed supraglotic airway device with sizes 1, ,2 & 3,( each) should have silicon cuff , tube and cuff should be of silicon material ,Reinforced tip, Pilot balloon with tactile indication, Autoclavable 40 times ,US FDA ,CE & ISO Certified. ALL the Items should be from one company
676 | Intradermal injection pad GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - 30 injection sports, Plastic Stand, Intradermal Injection (1) Realistic feedback, similar to negative result in skin test (2) ALL the Items should be from one company
677 | wi-fi enabled Defibrillation training Mannequin GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) Half torso adult manikin wirelessly controlled. (2) Should create scenarios for individual program. (3) Should have Hygienic System with Mouth to mouth and mouth to nose ventilation (4) Should have Head tilt, Pulse check so that realistic assessment can be trained. (5) Should have inbuilt mechanical monitoring instrument which can give instant feedback on ventilation volume, stomach inflation, chest compression depth and wrong hand positions. Should indicate the volume supplied in Litre & compression in millimetre. (6) Should be able to stimulate carotid pulse & Chest rigidity should be adjustable in three levels (7) Flexible/fixed defib electrodes points should be present for realistic shock deliverance with all leading brands of defibrillation (8) Defibrillation upto 360 Joules should be allowed to defibrillate as in real life. (9) Browser based management module, manikin should be capable of creating its own wifi and can be connected with software browser without internet connection. (10) Manikin should be software installation free to show report and real time feedback data on all operating systems like windows , android IOS and MAC (11) Should have option of Guedal Airway/fac pieces (12) Detailed test report in which all performances on manikin can be registered. (13) All training activities should be saved and used as a database, helping the Instructor to organize student retraining & compile statistics. (14) Manikin should have wifi and LAN connectivity to connect it with system. Not interfering with communication system. (15) If required can be upgraded to IV arm for training in future (16) Should be ISO 13485 Certified Each Manikin Should be supplied along with AMBU Bag having following features:- (1) Double wall paediatric/baby Ambu Bag with Built in pressure limitation should be supplied with face mask of pediatric size (2) O2 Tidal volume 300 ml, Reusable Reservoir bag with reservoir volume 1500 ml; (3) 100% latex free & double layered with Built-in- pressure limitation, (4) Single shutter valve & integrated hand strap, should be autoclavable upto 30 times with supporting test reports/documents. (5) Ambu bag should be USFDA & ISO certified ALL the Items should be from one company
678 | Catheter izationtraining simulator male GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) General Urethral Catheterization process can be operated (2) There are resistance when advance the catheter through Mucosal fold, bulb of urethral and intraurethral sphincter. ALL the Items should be from one company
679 | Catheter izationtraining simulator male GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) General Urethral Catheterization process can be operated (2) There are resistance when advance the catheter through urethral sphincter. ALL the Items should be from one company
680 | airway intubation , Bronchoscopy anatomy & navigation training system GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) It should have anatomically correct and visually accurate internal features. (2) It should have a nasal passage which has been developed in a manner similar to the main airway. Providing an anatomically correct nasal cavity, important landmarks And bronchial tree segments . (3) Should have an inflatable tongue with real-life size and texture. (4) Should have capability to simulate foreign body removal scenario if required (5) System should be capable to be used for training and practice of nasotracheal intubation and nasally directed fibreoptic examination. (6) Should be supplied with correct bronchoscopic landmarks and anatomy ready reckonor for RMB & LMB separately (7) The airway and nasal should be is made from Latex rubber , Head assembly should be made up of ABS material (8) Should be supplied along with Ambu Bag & SGA devices having following features:- - Double wall Adult Ambu Bag with Built in pressure limitation should be supplied with - O2 Tidal volume 1300 ml, Reusable Reservoir bag with reservoir volume 1500 ml; - 100% latex free & double layered with Built-in- pressure limitation, - Single shutter valve & integrated hand strap, should be autoclavable upto 30 times with supporting test reports/documents. - Ambu bag should be USFDA & ISO certified (9) SGA Device :- Reusable Preformed supraglotic airway device with size 2 or 3 any , should have silicon cuff , tube and cuff should be of silicon material ,Reinforced tip, Pilot balloon with tactile indication, Autoclavable 40 times ,US FDA ,CE & ISO Certified. ALL the Items should be from one company
681 | Surgical Suturing Arm GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - This mode of Advance Sturing Arm allow student to practice cut, suturing, stitches release, enswathing, etc. The elasticity and flexibility of skin can make it for practice hundreds times. There are some initial would on the arm. And if all the initial would have been sutured, people can cut the arm in other place for new training of suturing. ALL the Items should be from one company
682 | Prostate examination GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - Basing on different degrees of prostate carcinoma, we design four interchangeable prostates: (1) Benign, slightly enlarged, but normal prostate gland simulates Benign stage. (2) Prostate with two discreet, hard nodules (one is at left lobe; the other is at right lobe) simulate beginning stage. (3) Prostate with easilly palpable large mass simulate intermediate stage. The small nodule has increase in size and has become as external hard mass on the surface of the gland. (4) Prostate with malignant invasive cancer simulate terminal stage. This gland is totally replaced with carcinoma. The entire gland will feel hard and irregular. ALL the Items should be from one company
683 | CPR wi-fi enabled interactive Adult Manikin with Integrated Feedback System and real time performance display GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) It should be upper body torso for CPR training. (2) It should have inbuilt integrated mechanical monitoring instrument as well as digital sensors which gives instant feedback on ventilation volume, stomach inflation, chest compression depth and wrong hand position. (3) It should have three levels of adjustable stiffness of the chest which allow students to train on different body builds (4) Should have airways open only when head is correctly hyperextended (5) Chest rise should be with correct ventilations (6) Manikin should have training mat integrated in the carrying bag (7) Should have wi-fi connection possibility and software access for CPR and Ventillation Feedback on all Operating systems like mobile ( android –I phone) , windows laptop and MAC platform (8) Should be ISO 13485 Certified (9) Should be supplied with following accessories/items - Face piece – 5 nos - Carry bag- 1 nos (10) Each Manikin Should be supplied with Ambu Bag having following features:- - Double wall Adult Ambu Bag with Built in pressure limitation should be supplied with face mask - O2 Tidal volume 1300 ml, Reusable Reservoir bag with reservoir volume 1500 ml; - 100% latex free & double layered with Built-in- pressure limitation, - Single shutter valve & integrated hand strap, should be autoclavable upto 30 times with supporting test reports/ documents. - Ambu bag should be USFDA & ISO certified ALL the Items should be from one company
684 | Full body Child/Pediatric mannequin with water rescue/drowning training capability GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) Should have appearance of a 3-4 year old child with a body size of 86 cm. (2) It should have Realistic training of chest compressions. (3) It should have hygienic system for mouth-to-mouth Ventilation and for mannequin safety (4) It should be Suitable for bag-mask ventilation. (5) It should have Visible chest rise. (6) Airway only opens in correct head position (7) Realistic placement of AED defibrillation pads for training the use of AED (8) It should be Suitable for scenarios of water rescue too if required (9) Should be ISO 13485 Certified (10) Should be supplied with :- - 5 mouth-nose pieces, - 25 Nos head bags, (11) Should be supplied along with AED Trainer & Ambu Bag having following features:- - Double wall paediatric/baby Ambu Bag with Built in pressure limitation should be supplied with face mask of pediatric size , - O2 Tidal volume 300 ml, Reusable Reservoir bag with reservoir volume 1500 ml; - 100% latex free & double layered with Built-in- pressure limitation, - Single shutter valve & integrated hand strap, should be autoclavable upto 30 times with supporting test reports/documents. - Ambu bag should be USFDA & ISO certified (12) AED Trainer AED training unit should be a device similar to actual AED to train students, staff, paramedics during BLS, ALS training. (13) Should be fast and easy in operation, it should automatically turn on while opening the cover/lid of the machine. (14) Should have rescue sequence in the training unit that conforms to the 2015 guidelines of American Heart Association and European Resuscitation Council (ERC). (15) Should have voice-prompt in English language, and option to change to Hindi language, if required in future by end-user. (16) It should come with remote controller having functions to control training sequence during training. (17) It should have demonstration mode to show actual working of AED device during rescue operation. It should be able to pause in between demonstration to give explanations to trainee. (18) It should have at least 5 different types of rescue scenarios that should be easily changeable from remote controller. (19) The documented details of different rescue scenarios need to be provided. (20) It should have battery status indicator, pads status indicator. (21) Should have switch for easily changing the patient type from adult to child. (22) It should operate using locally available batteries ALL the Items should be from one company
685 | Baby Resusciation Manikin with airway obstruction GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) It should be made of high quality material that ensure long life. (2) The head should be rotatable to left and right side. (3) Airway should open in the correct (sniff) position. (4) Realistic anatomy should allow the trainee to find correct compression point, making the chest / abdomen rise realistically. (5) Brachial pulse should provide correct realistic training. (6) Obstruction of the airway by an on / off slider can be stimulated by the instructor. (7) It should have provision of comfort and safety through look listen – feel concept. (8) It should be designed with a unique hygienic system for safeguard mannequin from cross contamination (9) Should be ISO 13485 certified (10) Should be supplied with following accessories/items - Face piece – 5 nos - Carry bag- 1 nos (11) Each Manikin Should be supplied along with AMBU Bag having following features:- - Double wall paediatric/baby Ambu Bag with Built in pressure limitation should be supplied with face mask of pediatric size - O2 Tidal volume 300 ml, Reusable Reservoir bag with reservoir volume 1500 ml; - 100% latex free & double layered with Built-in- pressure limitation, - Single shutter valve & integrated hand strap, should be autoclavable upto 30 times with supporting test reports/documents. - Ambu bag should be USFDA & ISO certified ALL the Items should be from one company
686 | Tracheal intubation GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - Standard tracheotomy position, touchable trachea for locating cutting position Accurate structure: thyroid cartilage, cricoid cartilage, cricothyroid membrane Practice percutaneous thyrocricoid puncture, cricothyrotomy, tracheotomy Different cuttings: vertical, horizontal, cross shape, "U" shape, reverse "U" shape Replaceable trachea and neck skin ALL the Items should be from one company
687 | Breast Examination GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - Functionality characteristic: Palpation of galactophore malignant tumor, innocent tumor, lymphaden and lobulus accrementition. Material characteristics: (1) In imported thermoplastic. (2) Lifelike shape, skinny, pleasant to touch, durable; Ametabolic under disinfection and cleanout, convenient delivery. ALL the Items should be from one company
688 | Obstetrics mannequinne GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - An anatomically correct pelvic model with full term newborn and placenta to give your trainees realistic practice in multiple techniques, and to learn the procedure for emergency childbirth. Disposable umbilical cords with clamps, easily replaced extra vulva, powder to make simulated blood, a modular pregnant belly overlay with permanently installed fetus for training practice of Leopold's maneuver to determine the fetus'lie by palpating its skull and kneecaps, and a clear abdominal overlay to see positioning are all included. The lifelike pelvic cavity has pronounced pelvic landmarks, located spinal column, angled birth canal, ilium, ischium, sacrum, sacro spinous ligaments, and greater sciatic notch. The fetus provided is of a realistic newborn size with fontanels and cranial sutures. A soft carry bag is included. Size: 21"*13"*17". Three-year warrenty. ALL the Items should be from one company
689 | Multifunctional nursing mannequinne female GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - This Nursing Manikin should be able to demonstrate the following basic Nursing Skills. Nursing Skills & Procedures: (1) Hair and face washing,hair combing and sponge bath (2)Mouth cavity care (3) Endotracheal intubation (4) Oxygen inhaling (5) Nasal feeding (6) Gastrolavage (7) Intracardiac injection (8) Closed chest cardiac resuscitation (9) Pneumothorax (10)Breast care (11) Liver puncture (12) Chest drainage (13) Abdominal drainage (14) Bone marrow puncture (15) Lumbar puncture (16) Deltoid subcutaneous injection (17) Venipuncture injection (18) Blood transfusion (Arm) (19) Vastus lateralis injection (Arm) (20) Female urethral catheterization (21) Female bladder irrigation (22) Buttocks inframuscular injection ALL the Items should be from one company
690 | Episiotomy suturing mannequinne GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - Feature: Right posterior incision, left posterior incision or median incision can be selected to exercise perineum cutting and suturing. Size: 21*17*23(CM) Approx Net Weight: 1.5(Kg) Approx ALL the Items should be from one company
691 | Advance suturing leg GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - Feature: 1. With feature of lifelike shape and realistic touch, the model suitable for cutting and suturing exercise. 2. With wonderful elasticity and flexility of skin, each model can be used for hundreds of times. Accessories: Cutting and suturing instruments, needle and line, luxury portable box. ALL the Items should be from one company
692 | Nursing care mannequinne GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - Feature: 1. Hair and face washing/ 2. Eye and ear washing and administrating/ 3. mouth cavity and artificial teeth care/ 4. Endotracheal intubation/ 5. Sputum suction/ 6. Oxygen inhaling/ 7. Oral and nasal feeding 8. Gastrolavage 9. Main organs in thoracic cavity/ 10. Breast care and inspection 11. Venipuncture, injection, blood transfusion (Arm)/ 12. Deltoid subcutaneous injection/ 13. Vastus lateralis injection/ 14. Thoracic cavity, abdominal cavity, liver, bone marrow and lumbar puncture/ 15. Enema/ 16. Female urethral catheterization/ 17. Male urethral catheterization/ 18. Female bladder irrigation/ 19. Male bladder irrigation/ 20. Ostomy/ 21. Buttocks intramuscular injection/ 22. Main organs in abdominal cavity 23. Holistic nursing care: sponge bath, replacing clothes. ALL the Items should be from one company
693 | wi-fi enabled airway training & interactive Adult CPR Manikin with Integrated Feedback System and real time performance display GENERAL SPECIFICATION - (1) Should be made from polyvinyl and silicone rubber free from carcinogenic effect must be able to withstand temperature of 45degree entigrade (2) Texture should be soft and smooth and friction free to mimic the baby/adult skin (3) Internal parts must be realistically sculped , antomically accurate and correctly positioned and feel must be sooth, resilient or bony as relevant (4) Must be portable (5) Fittings used must be alluminium or polycarbonate or equivalent. (6) Durability must be minimum 3 years and must give warranty for 3 years from the date of installation at consignees location (7) Supplier must ensure manufacturer warranty of specification and manufactiring defect OTHER SPECIFICATION - (1) It should be upper body torso for CPR training. (2) It should have inbuilt integrated mechanical monitoring instrument as well as digital sensors which gives instant feedback on ventilation volume, stomach inflation, chest compression depth and wrong hand position. (3) It should have three levels of adjustable stiffness of the chest which allow students to train on different body builds (4) Should have airways open only when head is correctly hyperextended (5) Chest rise should be with correct ventilations (6) Should have airway head for facility of training of airway management like laryngeal mask , Tracheal tube and intubation capability (7) Manikin should have training mat integrated in the carrying bag (8) Should have wi-fi connection possibility and software access for CPR and Ventillation Feedback on all Operating systems like mobile ( android –I phone) , windows laptop and MAC platform (9) Should be ISO 13485 Certified (10) Should be supplied with following accessories/items - Face piece – 5 nos - Carry bag- 1 nos (11)Each Manikin Should be supplied with AMBU Bag & Supraglotic airway device having following features:- - Double wall Adult Ambu Bag with Built in pressure limitation should be supplied with face mask - O2 Tidal volume 1300 ml, Reusable Reservoir bag with reservoir volume 1500 ml; - 100% latex free & double layered with Built-in- pressure limitation, - Single shutter valve & integrated hand strap, should be autoclavable upto 30 times with supporting test reports/documents. - Ambu bag should be USFDA & ISO certified - SGA Device :- Reusable Preformed supraglotic airway device with size 2 or 3 any , should have silicon cuff , tube and cuff should be of silicon material ,Reinforced tip, Pilot balloon with tactile indication, Autoclavable 40 times ,US FDA ,CE & ISO Certified. ALL the Items should be from one company
694 | IT RELATED PRODUCTS COMPUTER SET (WINDOWS 7 LICENCE) (H61 Mother board, I3 Processor, 4 GB Ram, 1 TB Hard Disk , Small Cabinet with front side 4 usb Port, Dvd Writter, Keyboard USB, Mouse USB , LED 18'5 with Wifi
695 | LAPTOP (WIN 10 LICENCE) 7th generation core i7, 15inch full HD IPS display, Dual Band built in Wifi/Bluetooth, 8 GB RAM, 1TB HDD, Octacore with DVD writer, processor speed greater than 2.5GHZ, HD webcam , 2-3 USB 3.0 and 1-2 Usb 2.0 , HDMI port
696 | LASER PRINTER B/W HP Laser Jet 1020 Plus with 12A - Cartidge
697 | PRINTER Brother DCP-L2541 Multi Function Wierless Printer
698 | Smart HD Projector connectivity : Bluetooth, Vga, Hdmi, Wi-Fi Resolution : 1920 * 1080 Maximum Projection Distance: 20 ft Lamp Life: 50,000 hr Aspect Ratio: 16:09 Inbuilt Mic : Yes
699 | SCANNER FOR MULTIPLE DOCUMENT SCAN (A4, LEGAL)
700 | Amplifier with Speakers